{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["전기원가 ","전기내역서"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":269,"defined_names":16022,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"전기원가 ","index":0,"n_rows":37,"n_cols":12,"rows_kept":37,"cut":false,"hidden":false,"merged":[]}
["공 사 원 가 계 산 서"]
["공  사  명",null,"송촌체육공원 정비사업 전기공사"]
["공사 금액",null,{"$f":"\" 일금 : \"&NUMBERSTRING(F3,1)&\"원정\"","v":{"$error":"#REF!"}},null,null,{"$f":"D37","v":{"$error":"#REF!"}}]
["비           목",null,null,"금          액","구     성     비",null,"비     고"]
[null,"재","직 접 재 료 비",{"$f":"#REF!","v":{"$error":"#REF!"}}]
[null,null,"간 접 재 료 비"]
[null,"료","작업설.부산물등"]
["순",null,"주 요 자 재 비"]
[null,"비","소            계",{"$f":"SUM(D5-D7)","v":{"$error":"#REF!"}}]
[null,"노","직 접 노 무 비",{"$f":"#REF!","v":{"$error":"#REF!"}}]
[null,"무","간 접 노 무 비",{"$f":"TRUNC(D10*13.6%)","v":{"$error":"#REF!"}},"직접노무비 × 13.6%"]
["공","비","소            계",{"$f":"SUM(D10:D11)","v":{"$error":"#REF!"}}]
[null,null,"전    력    비"]
[null,"경","산 재 보 험 료",{"$f":"TRUNC(D$12*3.7%)","v":{"$error":"#REF!"}},"노무비 × 3.7%"]
[null,null,"고 용 보 험 료",{"$f":"TRUNC(D$12*1.01%)","v":{"$error":"#REF!"}},"노무비 × 1.01%"]
["사",null,"건 강 보 험 료",{"$f":"TRUNC(D$10*3.495%)","v":{"$error":"#REF!"}},"직접노무비 × 3.495%",{"$nulls":6},144513600]
[null,null,"연 금 보 험 료",{"$f":"TRUNC(D$10*4.5%)","v":{"$error":"#REF!"}},"직접노무비 × 4.5%"]
[null,null,"산업안전보건관리비",{"$f":"D19","v":{"$error":"#REF!"}},null,null,"①적용",{"$nulls":4},144200600]
[null,null,"①",{"$f":"TRUNC((D$9+D$10)*1.85%)*1.2","v":{"$error":"#REF!"}},"(재료비+직접노무비) × 1.85% x 1.2"]
["원",null,"②",{"$f":"TRUNC((D$9+D$10+D$36)*1.85%)","v":{"$error":"#REF!"}},"(재료비+직접노무비+관급자재비(도급자)) × 1.85%",{"$nulls":6},{"$f":"L16-L18","v":313000}]
[null,null,"노인장기요양보험료",{"$f":"TRUNC(D$16*12.27%)","v":{"$error":"#REF!"}},"건강보험료 × 12.27%"]
[null,null,"퇴직공제부금비",{"$f":"TRUNC(D$10*2.3%)","v":{"$error":"#REF!"}},"직접노무비 × 2.3%"]
[null,null,"기  타  경  비",{"$f":"TRUNC((D9+D12)*7.5%)","v":{"$error":"#REF!"}},"( 재료비 + 노무비 ) × 7.5%"]
["가","비","복 리 후 생 비"]
[null,null,"기  계  경  비",{"$f":"#REF!","v":{"$error":"#REF!"}}]
[null,null,"소            계",{"$f":"SUM(D13+D14+D15+D16+D17+D18+D21+D22+D23+D24+D25)","v":{"$error":"#REF!"}}]
[null,"계",null,{"$f":"D9+D12+D26","v":{"$error":"#REF!"}}]
["일   반   관   리   비",null,null,{"$f":"TRUNC(D27*6%)","v":{"$error":"#REF!"}},"순공사원가 × 6.0%"]
["합                    계",null,null,{"$f":"D27+D28","v":{"$error":"#REF!"}}]
["이                    윤",null,null,{"$f":"TRUNC(TRUNC((D12+D26+D28)*14.6%)-TRUNC(24/1.1))","v":{"$error":"#REF!"}},"(노무비+경비+일반관리비)×14.6%"]
["공     사     원     가",null,null,{"$f":"ROUND(D27+D28+D30,0)","v":{"$error":"#REF!"}},"순공사원가+일반관리비+이윤"]
["부   가   가   치   세",null,null,{"$f":"TRUNC(D31*10%,0)","v":{"$error":"#REF!"}},"공사원가 × 10.00%"]
["도   급   공   사   비",null,null,{"$f":"TRUNC(D31+D32,-3)","v":{"$error":"#REF!"}}]
["한   전   불   입   금",null,null,{"$f":"#REF!","v":{"$error":"#REF!"}}]
["작   업   부   산   물",null,null,{"$f":"#REF!","v":{"$error":"#REF!"}},null,null,"고재처리비"]
["관   급   자   재   대",null,null,{"$f":"#REF!","v":{"$error":"#REF!"}}]
["총   공   사   합   계",null,null,{"$f":"SUM(D33+D34-D35+D36)","v":{"$error":"#REF!"}},"-작업부산물(고재처리비)",null,"천원미만절사"]

{"sheet":"전기내역서","index":1,"n_rows":141,"n_cols":14,"rows_kept":141,"cut":false,"hidden":false,"merged":[[26,0,26,13],[72,0,72,13],[95,0,95,13],[118,0,118,13],[3,0,3,13],[1,13,2,13],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,4,2,4],[1,3,2,3]]}
[{"$f":"#REF!","v":{"$error":"#REF!"}}]
["품          명","규          격","단위","할증수량","할증전수량","재     료     비",null,"노     무     비",null,"경          비",null,"합          계",null,"비   고"]
[{"$nulls":5},"단     가","금     액","단     가","금     액","단     가","금     액","단     가","금     액"]
[{"$f":"#REF!","v":{"$error":"#REF!"}}]
["보안등(관급)","LED 60W (4M)","본",27]
["볼라드등(관급)","LED 15W","본",9]
["방수접속함(관급)","ELB-1개내장형","EA",27]
["번호표찰(관급)",null,"EA",36]
["보안등-철거","LED 50W (4M)","본",27]
["볼라드등-철거","LED 10W","본",9]
{"$rows_empty":15}
["소          계"]
[{"$f":"#REF!","v":{"$error":"#REF!"}}]
["제어반(관급)","P-A(4회로용)","면",1]
["보안등기구(관급)","LED 50W","등",2]
["보안등주(관급)","1등용(5M)","본",1]
["방수접속함(관급)","ELB-1개내장형","EA",1]
["제어반기초","500x600x1000","식",1]
["보안등기초(접지포함)","400x600x800","식",1]
["보안등주설치","5M","본",1]
["접지봉","16mm x 1800","EA",3]
["접지콘넥타","16mm ","EA",3]
["접지저감제","10KG","포",1]
["F-CV CABLE","10sq-2C","M",18]
["F-CV CABLE","6sq-2C","M",63]
["F-GV 전선","6sq","M",65]
["F-GV 전선","10sq","M",14]
["HI 전선관","22C(지중매입)","M",8]
["ST 전선관","42C","M",12]
["ELP 전선관","30C","M",48]
["ELP 전선관","50C","M",2]
["SERVICE CAP","42C","EA",1]
["필름밴드",null,"EA",4]
["경고테이프","300x250","M",98]
["터파기","기계:90,인력:10","㎥",11.8]
["되메우기 및 다짐","기계:90,인력:10","㎥",11.8]
{"$rows_empty":21}
["소          계"]
[{"$f":"#REF!","v":{"$error":"#REF!"}}]
["갈대조명(관급)","LED 80W","등",55]
["조광기(관급)","80W","EA",4]
["그네조명(관급)","플렉시블 12.5W","M",24]
["함체 (SUS)","500x500x300","면",7]
["SMPS","200W","EA",2]
["누전 차단기","ELB 2P 30/20AT","EA",7]
["F-CV CABLE","4sq-2C","M",83]
["F-GV 전선","4sq","M",85]
["ELP 전선관","30C","M",30]
["경고테이프","300x250","M",132]
["터파기","기계:90,인력:10","㎥",15.9]
["되메우기 및 다짐","기계:90,인력:10","㎥",15.9]
{"$rows_empty":9}
["소          계"]
[{"$f":"#REF!","v":{"$error":"#REF!"}}]
["보안등주(관급)","1등용(5M)","본",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["로고젝터(관급)","120W","EA",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["보안등주설치","5M","본",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["F-CV CABLE","4sq-2C","M",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["F-GV 전선","4sq","M",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["ELP 전선관","30C","M",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["경고테이프","300x250","M",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["터파기","기계:90,인력:10","㎥",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["되메우기 및 다짐","기계:90,인력:10","㎥",{"$f":"#REF!","v":{"$error":"#REF!"}}]
{"$rows_empty":12}
["소          계"]
[{"$f":"#REF!","v":{"$error":"#REF!"}}]
["투광등(관급)","LED 90W","등",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["볼라드등-철거","LED 10W","본",{"$f":"#REF!","v":{"$error":"#REF!"}}]
{"$rows_empty":19}
["소          계",{"$nulls":5},{"$f":"SUM(G120:G140)","v":0},null,{"$f":"SUM(I120:I140)","v":0},null,{"$f":"SUM(K120:K140)","v":0},null,{"$f":"SUM(M120:M140)","v":0}]